“Partners in Protection”

CONTRACTOR'S MATERIAL AND TEST CERTIFICATE

FIRE ALARM AND FIRE DETECTION SYSTEMS

| Type of Work: New Installation Test/Inspection Repair | Date: |
| --- | --- |

Name of facility:

Physical Address:

Mailing Address:

Contact Person:	       				Title:       			Phone:

Company Name:      					WA Cont. Lic. No.:

Address:      						Phone Number:

Tech. Name:      					Tech. Elec. Lic. No.

UL Listed Company   Yes     No 				Listing No.:

Agency Name:      					 	Phone:

Address:

Account Number:

Central Station Listing No.:      				Listing Agency:

WA Electrical Permit No.:

Designers Name:

Reg. Elec. Eng.   Yes    No   Reg. No:        NICET Certified:   Yes    No   Cert. No.

System Complies With WAC 212-14-015			 Yes	 No

Type:	 Non-coded	 Common coded 	 Selective coded	 Dual code

System Type:  Remote Station    Proprietary   Central Station    Other :(describe)

Normal Power Source, from Panel No.:      			Breaker No.:

Emergency Power Source:

Emergency Generator		Fuel Source:  Natural Gas    LPG   Gasoline   Diesel

Batteries			Type: Dry cell   Wet cell / charger   Gel cell / charger

Wiring System:

Wiring in raceway    Yes   No  				Fire listed cable  Yes  No

Plenum rated cable  Yes  No   			            Riser rated cable Yes  No

Conductor Size:	     		Temp. Rating      	Manufacturer

| Equip. Type | # Units Installed | # Units Tested | Satisfactory Check | Model and Manufacturer |
| --- | --- | --- | --- | --- |
|  |  |  | Yes | No | NA |  |
| Control Panel |  |  |  |  |  |  |
| Manual Station |  |  |  |  |  |  |
| Heat Detectors |  |  |  |  |  |  |
| Smoke Detectors Duct Detectors |  |  |  |  |  |  |
| Audible Alarm Devices |  |  |  |  |  |  |
| Visual Alarm Devices |  |  |  |  |  |  |
| Code Transmitter |  |  |  |  |  |  |
| Auto. Door Releases |  |  |  |  |  |  |
| Trouble Indicators |  |  |  |  |  |  |
| Master Alarm Box |  |  |  |  |  |  |
| Batteries |  |  |  |  |  |  |
| Charger |  |  |  |  |  |  |
| Generator |  |  |  |  |  |  |
| Ventilation Control |  |  |  |  |  |  |
| Fire Dept. Interconn. |  |  |  |  |  |  |
| Central Station Inter. |  |  |  |  |  |  |
| Ext. Sprklr Elec. Alarm |  |  |  |  |  |  |
| Sprklr Wtr Flow Sw. |  |  |  |  |  |  |
| Sprklr Gate Vlv Super |  |  |  |  |  |  |
| Annunciators |  |  |  |  |  |  |
| Automatic time delay of general alarm __ __________ minutes. None Installed |

Test of alarm system on emergency power, satisfactory: Yes No

Test received at monitoring agency: Yes No

Master panel box reset time _ ______:___ ______ am pm Key to panel available: Yes No Operating instructions at panel: Yes No Test record posted at panel: Yes No As-built plans, operations and maintenance manual available at site: Yes No

Contractor’s Certification

I certify under penalty of law that the fire alarm system referenced herein has been properly  installed /

tested /  inspected for compliance with the laws of the State of Washington and the City of Gig Harbor, and consistent with the requirements of NFPA 72, National Fire Alarm Code and International Fire Code.

Contractors Representative (signed)   _________________________________   Date

Printed Name

Owner’s Acknowledgement

As the owner’s representative I acknowledge that I have received a copy of the fire alarm test and inspection report, and understand that the system referenced herein is required to be maintained in proper operating condition at all times.

Owner’s Representative (signed)   ____________________________________   Date

Printed Name

Instructions

Upon completion of work, all inspections and tests required by NFPA 72 and the City of Gig Harbor shall be made by the contractor's representative and witnessed by an owner's representative, and this Contractors Material and Test Certificate shall be completed and signed by both representatives.  One copy of the completed test certificate shall be provided to the owner and one copy shall be provided by the contractor to the fire marshal at the time of final test and inspection.  For periodic tests and inspections of existing systems, one copy of this certificate shall be provided to the owner and one copy shall be submitted electronically to Gig Harbor Fire & Medic One at inspections@gigharborfire.org

# Text boxes

Premise Information

Contractor Information

Monitoring Company Information

For New Installations

For All Installations

Problems Found

Corrections Made/Date