“Partners in Protection”

CONTRACTOR’S MATERIAL AND TEST CERTIFICATE

FIRE SPRINKLER SYSTEMS

| Type of Work: New Installation Test/Inspection Repair | Date: |
| --- | --- |

Name of Facility:

Physical Address:

Mailing Address:

Contact Person:	     				Title:      			Phone:

Occupancy Type:  Retail   Office    Assembly    Industrial    Storage    Other:

Previous Type:  	  Retail    Office    Assembly    Industrial    Storage    Other:

Modifications since last inspection:  Yes       No     Description:

Special Hazards:  Haz. Materials       High Rise (( 7 stories)         Storage ( 12’       Other:

Company Name:	     					WA Cont. Lic. No.:

Address:	      						Phone Number:

Tech. Name:

Listed Company   Yes   No 	Listing Agency: 	     				Listing No.:

System location:

As-built plans at riser   Yes 	 No

Hydraulic design information sign at riser		Yes  		No

General information sign at riser			Yes  		No

System component instructions on premises	Yes  		No

Care and maintenance instructions on premises	Yes  		No

Copy of NFPA 25 provided on premises		Yes  		No

|  | Yes | No | NA |  | Yes | No | N/A |
| --- | --- | --- | --- | --- | --- | --- | --- |
| System in service at inspection |  |  |  | Tamper Switches Operate |  |  |  |
| PIV Locked/Tamper Open |  |  |  |  |  |  |  |
| Valves Operational and Accessible |  |  |  | Spare Heads in Cabinet |  |  |  |
| Cont. Valve Locked/Tamper Open |  |  |  | Head Temp. Appropriate |  |  |  |
| Backflow Valve Locked/Tamp. Open |  |  |  | Heads Clean and Paint Free |  |  |  |
| Valve Area Accessible |  |  |  | Head Wrench in Cabinet |  |  |  |
| Main Check Valve Holds Pressure |  |  |  | Cooler Head Ice Free |  |  |  |
| Alarm Ck. Valve Ext. Free of Damage |  |  |  | Heads Leak/Damage Free |  |  |  |
| Trim Piping Leak Tight |  |  |  | Heads Unobstructed |  |  |  |
| Trim Valves in Appropriate Position |  |  |  | Storage (18” Below Heads |  |  |  |
| Alarm Test Line Valve Closed |  |  |  | Stand. Heads ( 50 yrs Old |  |  |  |
| FDC Plainly Visible |  |  |  | Res. Heads ( 20 yrs Old |  |  |  |
| FDC Easily Accessible |  |  |  | Wet Pipes Properly Heated |  |  |  |
| FDC Swivels Non-Binding |  |  |  | System Appears Leak Free |  |  |  |
| FDC Capped/Plugged |  |  |  | CSC Head Replace. Needed |  |  |  |
| FDC Ck. Valve Drip Free |  |  |  | As-Builts At Riser |  |  |  |
| Ext. Alarms Properly Identified |  |  |  | Riser Room Identified |  |  |  |
| Ext. Alarms Operate |  |  |  | Pipes Support Other Material |  |  |  |
| Interior Alarms Operate |  |  |  | All Escutcheons In Place |  |  |  |
| Flow Switch Operates |  |  |  |  |  |  |  |

(Fully Explain All No Answers)

| Sprinkler Supply Static Pressure | psi | Sprinkler Supply Residual Pressure | psi |
| --- | --- | --- | --- |
|  | Yes | No | N/A |
| Main drain flow test with __ ________ inch valve full open |  |  |  |
| Water flow alarm devices activated |  |  |  |
| Interior alarms operating properly |  |  |  |
| Gauges operating properly |  |  |  |
| Alarm supervising company received signal properly |  |  |  |
| Alarm panel reset properly |  |  |  |
| Alarm panel clear |  |  |  |
| System left in service |  |  |  |

Comments

(Fully Explain All No Answers)

|  | Yes | No | N/A |  | Yes | No | N/A |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dry Pipe Valve Damage Free |  |  |  | Compressor Operates |  |  |  |
| Trim In Appropriate Position |  |  |  | Oil Level Full |  |  |  |
| Alarm Test Valve Closed |  |  |  | Interior Alarms Operate |  |  |  |
| Heater Operational |  |  |  | Exterior Alarms Operate |  |  |  |
| Hi/Lo Switch Operates |  |  |  | Supervisory Co. Received Signal |  |  |  |
| Alarm Press. Sw. Operates |  |  |  | Alarm Panel Reset |  |  |  |
| Auto Air Main. Device Operates |  |  |  | Alarm Panel Clear |  |  |  |
| Quick Opening Device Tested |  |  |  | System left in service |  |  |  |
| Interior of Dry Valve Condition Good |  |  |  |  |  |  |  |
| Priming Water at Proper Level |  |  |  |  |  |  |  |
| Comments |
| (Fully Explain All No Answers) |

|  | Dry Valve | QOD |
| --- | --- | --- |
|  | Make | Model | Serial # | Make | Model | Serial # |
| System | QOD Trip OK | Time to TripThru Test Pipe | Water Pressure | Initial Air Pressure | Trip Point Air Pressure | Water To Test Outlet | Alarm Operated |  |  |
|  |  |  |  |  |  |  | Local | Remote |  |  |
|  |  | Min | Sec | PSI | PSI | PSI | Min | Sec | Y | N | Y | N |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |

(Fully Explain All No Answers)

Special Systems Provided Deluge Pre-Action Other

Did the deluge or pre-action valves operate properly during testing? Yes No N/A

Did the fire detection devices operate during testing? Yes No N/A

Did the supervisory devices operate during testing? Yes No N/A

| Deluge and Pre-Action Valves |
| --- |
| Operation: Pneumatic Electric Hydraulic |
| Piping Supervised? Yes No | Detection Supervised Yes No |
| Does valve operate from the manual trip and/or remote control stations? Yes No |
| If no, explain: |
| Is there an accessible facility in each circuit for testing? Yes No |
| Make | Model | Does each circuit operate supervision loss alarm? | Does each circuit operate valve release | Maximum time to operate release |
|  |  | Yes | No | Yes | No | Min. | Sec. |

Adjustments or corrections made this inspection:

All systems fully operational? Yes No Exceptions (Explain):

This certifies that all testing was performed in accordance with applicable NFPA and IFC Standards.

________________________________           __________________________           ____

Inspector Signature			                 Print Name				        Date

_____________________________________________________________________________________________________

For (Testing Company Name)

________________________________________             ________________________________               _____

Signature of Owner or Representative	                   Print Name				        Date

________________________________________________________________________________________________

For (Owner Company Name)

Instructions

Upon completion of work, all inspections and tests required by NFPA 13, 13R, and 25, and the City of Gig Harbor shall be made by the contractor's representative and witnessed by an owner's representative, and this Contractors Material and Test Certificate shall be completed and signed by both representatives.  One copy of the completed test certificate shall be provided to the owner and one copy shall be provided by the contractor to the fire marshal at the time of final test and inspection.  For periodic tests and inspections of existing systems, one copy of this certificate shall be provided to the owner and one copy shall be submitted electronically to Gig Harbor Fire & Medic One at inspections@gigharborfire.org

# Text boxes

Premise Information

Contractor Information

System Information

Comments:

(Fully Explain All No Answers)

### General Inspection

Main Drain Test

Dry Pipe System Inspection

Dry  Dry Pipe Operating Test

Special Systems